## CH1 Form
CH1 Form
Pre-Construction Checklist
Contract Start Date:
Unique Project Ref (PSO number) | Project Title | Building | UCL Project Officer (UPO) | Approval | Approval Date
| Have isolation points been identified? | Meter readings prior to construction |  | Initials | Date
Power | Y/N
Water | Y/N
Gas | Y/N
Other e.g. Compressed air, Medical gases, etc. | Y/N
Assets | Tab entitled 'List of Removed Assets' complete? | Comments |  | Initials | Date
Are any assets being removed / stripped out? If yes, please complete the 'List of Removed Assets' tab | (Y / N / N/A) | Only assets with UCL asset tags need to be listed
Will any assets be turned off permanently / be made redundant that are not being stripped out? Please complete 'List of Removed Assets' if yes | (Y / N / NA)
Reusable Furniture | Complete? | Comments |  | Initials | Date
Have all unwanted furniture etc. entered on WARP-IT/ Re-yooz? Liaise with Decant Team (Wes Knapp). | Y/N
Security | Y/N? | Comments |  | Initials | Date
Are security services to be maintained? If not, what other arrangements have been made? | Y/N
What arrangements have been made for site and vehicular access? | Y/N
Fire | Y/N? | Comments |  | Initials | Date
Have the UCL Fire Safety Manager / Fire Safety Officer been consulted with over the final designs? | Y/N
Have detailed discussions taken place on maintenance of existing fire strategy arrangements throughout the course of the project, particularly in respect of means of escape protection? | Y/N
Where there could be dusty works that may result in false alarms, have the UCL fire safety team been consulted with to ensure an appropriate strategy for temporary detection provision? | Y/N
Where necessary, has that strategy been implemented and recorded prior to commencement of works? | Y/N
Critical Areas | Y/N? | Comments |  | Initials | Date
Are there any services that need to be maintained within a work area i.e. feeds to critical areas? | Y/N
If so, have they been clearly identified? | Y/N
Waste | Y/N? | Comments |  | Initials | Date
Has all hazardous waste been removed by Facilities Waste Services? | Y/N
Have Laboratory cleanliness certificates been issued? | Y/N
Has a Site Waste Minimisation and Management Plan been prepared identifying ownership and responsibility and to be used to record weight, type and destination for each waste stream? Any reuse should be clearly identified in the SWMP. | Y/N

## List of Removed Assets
List of Assets being removed or made redundant
Please list below the assets that are being removed as part of the project and any assets that are being made redundant/permanently turned off without being stripped out
Photographs of removed EQ numbers on assets to be provided
Reuse of assets
Building Name | Building Number e.g. - 001 and EXT001 for external assets | Floor | Room Number | Existing EQ Number | Component / Type of Asset (eg 2 pipe FCU, Condensing Boiler) | Manufacturer | Model No. | Serial No. | Confirm whether asset is being removed or whether asset is being retained whilst being made redundant? (Redundant / Removed) | Is this unit being reused elsewhere? | If yes, where will this be installed? |  |  | Warranty been extended?
[11 empty] | Building number | Floor | Room number